

**LABORT’S LABOPURE STANDARDS**

**With**

**Sulphur in Light Mineral Oil**

**LABORT*®*** offers a series of calibration standards specifically designed for the analysis of sulphur in light mineral oil (viscosity 20cSt). These standards are ideally suited for ASTM Methods D2622, D4294, D7039, D7217, D7220 and others.  
  
LABORT’s LABOPURE® grade Sulphur in Light Mineral Oil standards are manufactured from the highest quality raw materials available in India. These standards are made up on a weight by weight basis using balances which are routinely calibrated using NIST-traceable weights. LABORT’s standards are accompanied by a Certificate of Analysis which states the actual concentration and the traceability to NIST. They are guaranteed to be stable for one year from the shipping date, subject to in intact condition at ambient temperature.

|  |  |  |  |
| --- | --- | --- | --- |
| **Product Code** | **Desceription** | **Packing** | **INR** |
| 45852 | **Sulphur in Light Mineral Oil standard solution, LABOPURE®, 10,000µg/g(1.00%)** | **100 ml** |  |
| 45853 | **Sulphur in Light Mineral Oil standard solution, LABOPURE®, 1,000µg/g (0.10%)** | **100 ml** |  |
| 45854 | **Sulphur in Light Mineral Oil standard solution, LABOPURE®, 100µg/g (0.0100%)** | **100 ml** |  |
| 45855 | **Sulphur in Light Mineral Oil standard solution, LABOPURE®, 10µg/g (0.0010%)** | **100 ml** |  |
| 45856 | **Sulphur in Light Mineral Oil standard solution, LABOPURE®, 1,500µg/g (0.15%)** | **100 ml** |  |
| 45857 | **Sulphur in Light Mineral Oil standard solution, LABOPURE®, 15µg/g (0.0015%)** | **100 ml** |  |
| 45858 | **Sulphur in Light Mineral Oil standard solution, LABOPURE®, 20,000µg/g(2.00%)** | **100 ml** |  |
| 45859 | **Sulphur in Light Mineral Oil standard solution, LABOPURE®, 200µg/g (0.0200%)** | **100 ml** |  |
| 45860 | **Sulphur in Light Mineral Oil standard solution, LABOPURE®, 20µg/g (0.0020%)** | **100 ml** |  |
| 45861 | **Sulphur in Light Mineral Oil standard solution, LABOPURE®, 25µg/g (0.0025%)** | **100 ml** |  |
| 45862 | **Sulphur in Light Mineral Oil standard solution, LABOPURE®, 30,000µg/g (3.00%)** | **100 ml** |  |
| 45863 | **Sulphur in Light Mineral Oil standard solution, LABOPURE®, 3,000µg/g (0.30%)** | **100 ml** |  |
| 45864 | **Sulphur in Light Mineral Oil standard solution, LABOPURE®, 300µg/g (0.0300%)** | **100 ml** |  |
| 45865 | **Sulphur in Light Mineral Oil standard solution, LABOPURE®, 40,000µg/g (4.00%)** | **100 ml** |  |
| 45866 | **Sulphur in Light Mineral Oil standard solution, LABOPURE®, 400µg/g (0.0400%)** | **100 ml** |  |
| 45867 | **Sulphur in Light Mineral Oil standard solution, LABOPURE®, 50,000µg/g (5.00%)** | **100 ml** |  |
| 45868 | **Sulphur in Light Mineral Oil standard solution, LABOPURE®, 5,000µg/g (0.50%)** | **100 ml** |  |
| 45869 | **Sulphur in Light Mineral Oil standard solution, LABOPURE®, 500µg/g (0.0500%)** | **100 ml** |  |
| 45870 | **Sulphur in Light Mineral Oil standard solution, LABOPURE®, 50µg/g (0.0050%)** | **100 ml** |  |
| 45871 | **Sulphur in Light Mineral Oil standard solution, LABOPURE®, 5µg/g (0.0005%)** | **100 ml** |  |
| 45872 | **Sulphur in Light Mineral Oil standard solution, LABOPURE®, 7,500µg/g (0.75%)** | **100 ml** |  |
| 45873 | **Sulphur in Light Mineral Oil standard solution, LABOPURE®, 750µg/g (0.0750%)** | **100 ml** |  |
| 45874 | **Sulphur in Light Mineral Oil standard solution, LABOPURE®, 75µg/g (0.0075%)** | **100 ml** |  |
| 45875 | **Sulphur in Light Mineral Oil standard solution, LABOPURE®, Blank (0.0000%)** | **100 ml** |  |